## Slide 1: Controls & Vacuum hands - on training
Vít Machanec, FEL CTU in Prague, Czech Republic
Julius Backai, FEI TU in Kosice, Slovakia
Supervizors: Roman Pivin, Mikhail Nozdrin

## Slide 2: Structure of our training
Introduction to PLC, basic electronics and software
Test project – clinic
Vacuum training
Main project – remote control & automatization of vacuum system

## Slide 3: Clinic - test project
Electrical scheme
Logical scheme in LOGO! Soft Comfort V7.0
Siemens LOGO! 24RCE
Relay

## Slide 4: Clinic - test project
Initial state occupied – red lamps lightening
One button pressing changes state to free – red lamps off, green lamps lightening
Next button pressing switches state to opposite
If doors are opened system switches to occupied state
Assembled project

## Slide 5: Vacuum training
Visit to the Accelerator Nuclotron - motivation for main project
Assembling the vacuum system in laboratory
Leak detection

## Slide 6: Vacuum training
Vacuum scheme & equipment
Forevacuum pump
Turbomolecular
pump
Gate valve
Angle
valve

## Slide 7: Main project
Project documentation
Electrical scheme
Electrical drawing of test project

## Slide 8: Main project
Change valves
Assembling electrical scheme

## Slide 9: Main project
Testing the system
Interlocks – safety mechanisms
to protect the system
Automatization of the system
Testing
Interlocks
Test project

## Slide 10: Conclusion
Learning & practice with PLC and basic electronic components
Understanding & assembling vacuum system
Design of electrical circuits & remote control of vacuum equipment
Programming safety mechanisms
Possible improvements – full automatization

## Slide 11: Thank you for your attention